## Sheet1
SAIDI-SAIFI Report
Level of Monitoring: PFC/MoP
Format: D5
Name of State: |  | Andhra Pradesh
Name of Discom: |  | APEPDCL
Number of Towns: |  | 29
Total nos. of Feeders: |  | 716
Period: 1 Month (Eg.: 1st MAY'19 to 31st MAY'19)
Sl. No. | Name of Town | Name of Feeder | Number of Consumers | Number of Outages (Nos.) | Duration of Outages (Sec)
1 | AMADALAVALASA | BODDEPALLIPET | 7496 | 0 | 0
2 | AMADALAVALASA | K.MANNAYYAPETA LI SCHEME | 4 | 0 | 0
3 | AMADALAVALASA | TOWN1 | 610 | 0 | 0
4 | AMADALAVALASA | TOWN2 (AMADALAVALASA) | 4165 | 0 | 0
5 | AMADALAVALASA | VENKAYYAPET | 1901 | 30 | 92315
6 | AMALAPURAM | 11KV NEW HB COLONY | 693 | 4 | 8040
7 | AMALAPURAM | 11KV SKBRCOLLEGE | 3949 | 18 | 37680
8 | AMALAPURAM | COLLEGE FEEDER | 2122 | 30 | 64664
9 | AMALAPURAM | COURT FEEDER | 2640 | 16 | 38640
10 | AMALAPURAM | H.B.COLONY | 1822 | 3 | 3720
11 | AMALAPURAM | HIGH SCHOOL | 4604 | 46 | 108120
12 | AMALAPURAM | RAW WATER | 632 | 31 | 55407
13 | AMALAPURAM | RED BRIDGE | 3136 | 0 | 0
14 | AMALAPURAM | VS TEMPLE | 5347 | 0 | 0
15 | ANAKAPALLE | 11KV NOOKAMBICA COLD STORAGE | 1 | 10 | 53880
16 | ANAKAPALLE | GANDHI MARKET | 4712 | 3 | 32280
17 | ANAKAPALLE | GAVARAPALEM | 2902 | 0 | 0
18 | ANAKAPALLE | L N NAGAR | 5064 | 0 | 0
19 | ANAKAPALLE | POOLBAGH | 2175 | 0 | 0
20 | ANAKAPALLE | TOWN1 | 6293 | 0 | 0
21 | ANAKAPALLE | TOWN2 (ANAKAPALLE) | 4714 | 4 | 6780
22 | ANAKAPALLE | WOODPETA | 4792 | 0 | 0
23 | BHEEMUNIPATNAM | 11KV ANNAVARAM | 2144 | 2 | 4980
24 | BHEEMUNIPATNAM | BHEEMILI TOWN | 3975 | 9 | 15420
25 | BHEEMUNIPATNAM | CHITTIVALASA TOWN | 6170 | 8 | 11520
26 | BHEEMUNIPATNAM | POLYTECHNIC | 3952 | 0 | 0
27 | BHEEMUNIPATNAM | SANGIVALASA | 2856 | 8 | 15480
28 | BHIMAVARAM | BHIMAVARAM TOWN | 5184 | 42 | 98760
29 | BHIMAVARAM | BHIMAVARAM-IA | 3443 | 0 | 0
30 | BHIMAVARAM | BHIMAVARAM-IB | 2141 | 0 | 0
31 | BHIMAVARAM | BHIMAVARAM-IIA | 2842 | 0 | 0
32 | BHIMAVARAM | BHIMAVARAM-IIB | 4327 | 36 | 76535
33 | BHIMAVARAM | BVRM INDUSTRIAL ESTATE | 691 | 2 | 12900
34 | BHIMAVARAM | DIVISION OFFICE | 2 | 34 | 71880
35 | BHIMAVARAM | DNR COLLEGE | 4037 | 37 | 68280
36 | BHIMAVARAM | GUNUPUDI | 5113 | 0 | 0
37 | BHIMAVARAM | KOVVADA-IA | 1391 | 37 | 81240
38 | BHIMAVARAM | KOVVADA-IB | 2681 | 36 | 64920
39 | BHIMAVARAM | KOVVADA-IIA | 4903 | 0 | 0
40 | BHIMAVARAM | KOVVADA-IIB | 4830 | 39 | 77220
41 | BHIMAVARAM | MENTEVARITHOTA | 1724 | 39 | 84060
42 | BHIMAVARAM | NR PURAM | 775 | 0 | 0
43 | BHIMAVARAM | RAYALAM LOCAL | 2315 | 9 | 32820
44 | BHIMAVARAM | RELIANCE MULTIPLEX | 1 | 0 | 0
45 | BHIMAVARAM | REST HOUSE | 3050 | 4 | 8520
46 | BHIMAVARAM | TADERU-BANK COLONY | 4184 | 35 | 71760
47 | BHIMAVARAM | TADERU-GANDHINAGAR | 3374 | 4 | 8520
48 | BHIMAVARAM | WATERWORKS | 6 | 6 | 58200
49 | BOBBILI | APIIC | 98 | 0 | 0
50 | BOBBILI | ARORA | 1 | 1 | 7848
51 | BOBBILI | CHURCH CENTER | 4129 | 15 | 59940
52 | BOBBILI | FORT | 3509 | 14 | 37440
53 | BOBBILI | GOLLAPALLI | 192 | 0 | 0
54 | BOBBILI | GOLLAPALLI_GLP | 3528 | 2 | 2580
55 | BOBBILI | HERITAGE | 33 | 1 | 7860
56 | BOBBILI | INDUSTRIAL (BOBBILI) | 55 | 11 | 35580
57 | BOBBILI | MAIN MARKET | 1 | 2 | 2580
58 | BOBBILI | MALLAMPETA | 3064 | 0 | 0
59 | BOBBILI | NIJAM SUGAR FACTORY | 370 | 0 | 0
60 | BOBBILI | POOLBAUGH | 3153 | 0 | 0
61 | BOBBILI | RTC | 654 | 0 | 0
62 | BOBBILI | SAI AGROTECH | 30 | 0 | 0
63 | BOBBILI | TTD | 1896 | 1 | 960
64 | ELURU | 11KV CHANIKYAPURI COLONY | 1796 | 0 | 0
65 | ELURU | 11KV GANDHI NAGAR | 2326 | 0 | 0
66 | ELURU | 11KV PATHEBAD | 2820 | 0 | 0
67 | ELURU | 11KV SANTOSH NAGAR | 4917 | 0 | 0
68 | ELURU | 11KV STATION ROAD | 3366 | 0 | 0
69 | ELURU | 11KV SUBBAMMA DEVI SCHOOL ROAD | 1249 | 0 | 0
70 | ELURU | 11KV VENNAVALLI VARI PETA | 1648 | 0 | 0
71 | ELURU | ASHOKNAGAR | 2649 | 5 | 14580
72 | ELURU | CANAL | 3198 | 0 | 0
73 | ELURU | GAVARAVARAM | 4445 | 0 | 0
74 | ELURU | GOVT HOSPITAL | 235 | 0 | 0
75 | ELURU | INDUSTRIAL (ELURU) | 146 | 4 | 7140
76 | ELURU | KOTHAPETA | 1412 | 0 | 0
77 | ELURU | MAINBAZAR | 4492 | 0 | 0
78 | ELURU | NEW VENKANNA TANK | 6809 | 10 | 16418
79 | ELURU | NORTH | 961 | 2 | 18540
80 | ELURU | POWERPETA | 3565 | 6 | 19560
81 | ELURU | RK PURAM | 2258 | 0 | 0
82 | ELURU | RR PETA | 954 | 0 | 0
83 | ELURU | RTC | 2596 | 2 | 2580
84 | ELURU | SANTHINAGAR (ELURU) | 1128 | 7 | 26820
85 | ELURU | SATHAVAHANA NAGAR | 2103 | 5 | 11220
86 | ELURU | SPM | 917 | 2 | 3540
87 | ELURU | SV PETA | 3414 | 4 | 16920
88 | ELURU | TGMGUNBAZAR | 9476 | 4 | 6660
89 | ELURU | TGMRAILWAYSTATION | 3713 | 3 | 7440
90 | ELURU | TGMRATNAS | 5437 | 7 | 11040
91 | ELURU | VENKANNATANK | 6930 | 0 | 0
92 | ELURU | VIDYANAGAR | 1681 | 0 | 0
93 | ELURU | WATER WORKS (ELURU) | 1 | 0 | 0
94 | ELURU | YMHA HALL | 2116 | 4 | 6720
95 | ITCHAPURAM | ITCHAPURAM TOWN1 | 6699 | 29 | 113189
96 | ITCHAPURAM | ITCHAPURAMT2(ASPETA) | 7081 | 0 | 0
97 | KAKINADA | 11KV JNTU | 60 | 3 | 8760
98 | KAKINADA | 11KV KONDAYYAPALEM | 3250 | 3 | 3000
99 | KAKINADA | 11KV PRATAPNAGAR | 4137 | 0 | 0
100 | KAKINADA | AMBEDKAR | 118 | 0 | 0
101 | KAKINADA | ANDHRA JYOTHI | 1774 | 0 | 0
102 | KAKINADA | APSP | 3767 | 0 | 0
103 | KAKINADA | ASHOK NAGAR | 2058 | 5 | 13620
104 | KAKINADA | ASHRAM PUBLIC SCHOOL | 4461 | 0 | 0
105 | KAKINADA | AUTONAGAR | 1740 | 13 | 39840
106 | KAKINADA | BEACH ROAD | 2333 | 11 | 79920
107 | KAKINADA | BHANUGUDI | 2340 | 7 | 17220
108 | KAKINADA | BOAT CLUB | 3701 | 2 | 4200
109 | KAKINADA | CHETTINADU | 1 | 0 | 0
110 | KAKINADA | COMMERCIAL | 2245 | 4 | 29160
111 | KAKINADA | DEVALAYAM | 5356 | 0 | 0
112 | KAKINADA | GANDHI NAGAR | 3719 | 0 | 0
113 | KAKINADA | GANGARAJU NAGAR | 2580 | 8 | 22200
114 | KAKINADA | GGH | 144 | 4 | 11040
115 | KAKINADA | GUDARIGUNTA | 2274 | 0 | 0
116 | KAKINADA | INDRAPALEM | 5075 | 0 | 0
117 | KAKINADA | INDUSTRIAL (KAKINADA) | 3336 | 5 | 40740
118 | KAKINADA | INDUSTRIAL/ARATAKATLA | 6271 | 0 | 0
119 | KAKINADA | JNP TOWN | 4816 | 5 | 25380
120 | KAKINADA | KOKILA | 2845 | 7 | 16020
121 | KAKINADA | KOVVADA | 3399 | 8 | 20460
122 | KAKINADA | MADHAVA NAGAR | 2534 | 4 | 18060
123 | KAKINADA | MADHURA NAGAR | 4153 | 14 | 26640
124 | KAKINADA | MAIN ROAD | 421 | 2 | 8280
125 | KAKINADA | MASJID CENTER | 1346 | 0 | 0
126 | KAKINADA | MUNCIPAL OFFICE | 4092 | 2 | 8280
127 | KAKINADA | NADAKUDURU | 5683 | 13 | 56160
128 | KAKINADA | NAGAMALLITHOTA | 1601 | 13 | 29160
129 | KAKINADA | NS ROAD | 4247 | 4 | 23400
130 | KAKINADA | PALLAMRAJUNAGAR | 4415 | 0 | 0
131 | KAKINADA | RAMARAO PETA | 3231 | 0 | 0
132 | KAKINADA | RECHARLA | 2694 | 0 | 0
133 | KAKINADA | REVENUE COLONY | 5924 | 0 | 0
134 | KAKINADA | RTC | 5463 | 16 | 105300
135 | KAKINADA | RTO | 23 | 0 | 0
136 | KAKINADA | SARPAVARAM | 7746 | 0 | 0
137 | KAKINADA | SASIKANTH NAGAR | 2424 | 3 | 5940
138 | KAKINADA | SETRAJINDL | 2125 | 0 | 0
139 | KAKINADA | SIDDHARDANAGAR | 850 | 10 | 22500
140 | KAKINADA | SIMHADRI NAGAR | 2663 | 15 | 31440
141 | KAKINADA | SRIRAM NAGAR | 1099 | 2 | 3600
142 | KAKINADA | STADIUM | 3376 | 0 | 0
143 | KAKINADA | SURYANARAYANA PURAM | 4988 | 7 | 39660
144 | KAKINADA | VENKATA NAGAR | 1465 | 0 | 0
145 | KAKINADA | VIDYUT NAGAR | 3881 | 4 | 7080
146 | KAKINADA | YETIMOGA | 3441 | 0 | 0
147 | KAKINADA | ZP GUEST HOUSE | 3352 | 0 | 0
148 | KOVVURU | 11KV 11K.V.SRINIVASAPURAM | 1586 | 17 | 34620
149 | KOVVURU | 11KV KOVVURU WATER WORKS | 9 | 2 | 5340
150 | KOVVURU | 11KV ROUND RAMALAYAM | 3222 | 0 | 0
151 | KOVVURU | 11KV SBI | 2131 | 0 | 0
152 | KOVVURU | AVANTHIINDL | 596 | 9 | 18120
153 | KOVVURU | BUS STAND | 1608 | 6 | 10260
154 | KOVVURU | GODAVARI BAND | 3202 | 6 | 10860
155 | KOVVURU | RAILWAY STATION | 1208 | 0 | 0
156 | MANDAPETA | 11KV MANDAPETA TOWN- III | 5382 | 0 | 0
157 | MANDAPETA | RCM | 4319 | 8 | 14567
158 | MANDAPETA | TOWN-I (MANDAPETA) | 5191 | 0 | 0
159 | MANDAPETA | TOWN-II | 7371 | 1 | 3426
160 | NARASAPUR | 11KV MUNICIPAL COMPLEX | 2899 | 28 | 131340
161 | NARASAPUR | 11KV PEECHPALEM | 2325 | 36 | 144120
162 | NARASAPUR | 11KV VALANDHARAREVU | 2499 | 35 | 144780
163 | NARASAPUR | NARSAPURAM TOWN-I | 1680 | 29 | 51540
164 | NARASAPUR | NARSAPURAM TOWN-II | 3074 | 0 | 0
165 | NARASAPUR | NARSAPURAM TOWN-III | 1349 | 0 | 0
166 | NARASAPUR | NARSAPURAM TOWN-IV | 981 | 20 | 38125
167 | NARASAPUR | NSP-CHINAMAIDIPALLI | 1284 | 0 | 0
168 | NARASAPUR | NSP-STEAMERROAD | 4226 | 0 | 0
169 | NARASAPUR | WATERWORKS | 1 | 0 | 0
170 | NARSIPATNAM | BALIGATTAM | 4766 | 8 | 64260
171 | NARSIPATNAM | DURGADA | 53 | 2 | 20460
172 | NARSIPATNAM | KRISHNA BAZAR | 2298 | 1 | 1680
173 | NARSIPATNAM | NARSIPATNAM TOWN1 | 6219 | 6 | 25863
174 | NARSIPATNAM | NARSIPATNAM TOWN2 | 3948 | 11 | 42360
175 | NARSIPATNAM | PEDA BODDEPALLI | 3616 | 2 | 20460
176 | NIDADAVOLE | 11KV TOWN-III | 3132 | 5 | 9000
177 | NIDADAVOLE | INDL(KIC) | 2 | 1 | 9720
178 | NIDADAVOLE | NANDINI | 1 | 2 | 6720
179 | NIDADAVOLE | TOWN(WARFROAD) | 2711 | 3 | 14520
180 | NIDADAVOLE | TOWN1 | 5646 | 4 | 6060
181 | NIDADAVOLE | TOWN2 (NIDADAVOLE) | 3167 | 3 | 5460
182 | PALAKOLLU | BANK COLONY | 1665 | 2 | 13740
183 | PALAKOLLU | POOLAPALLI | 5576 | 33 | 115680
184 | PALAKOLLU | RAJIV NAGAR | 5594 | 2 | 13740
185 | PALAKOLLU | TOWN I | 7343 | 25 | 55140
186 | PALAKOLLU | TOWN II | 2516 | 0 | 0
187 | PALAKOLLU | VIJAYA LAXMI | 161 | 10 | 38760
188 | PALAKOLLU | WATERWORKS | 4732 | 28 | 58680
189 | PALASA KASIBUGGA | 11KV ANANTHAPURAM | 597 | 12 | 209824
190 | PALASA KASIBUGGA | CHINABADAM | 2158 | 6 | 15590
191 | PALASA KASIBUGGA | GANDHI NAGAR | 6968 | 13 | 37230
192 | PALASA KASIBUGGA | MOGILIPADU | 7270 | 0 | 0
193 | PALASA KASIBUGGA | SUDIKONDA | 4384 | 56 | 207000
194 | PARVATHIPURAM | BELGAM | 5095 | 15 | 44400
195 | PARVATHIPURAM | G.D.PETA | 5157 | 0 | 0
196 | PARVATHIPURAM | URBAN | 6058 | 0 | 0
197 | PARVATHIPURAM | WATERWORKS | 4115 | 0 | 0
198 | PEDDAPURAM | 11KV.NAVODYA | 1718 | 4 | 6900
199 | PEDDAPURAM | ADITYA | 148 | 1 | 5400
200 | PEDDAPURAM | INDUSTRIAL (PEDDAPURAM) | 68 | 10 | 16140
201 | PEDDAPURAM | PALM TECH | 101 | 1 | 5460
202 | PEDDAPURAM | RAMARAO PETA | 5080 | 4 | 6960
203 | PEDDAPURAM | RTC | 7312 | 0 | 0
204 | PITHAPURAM | BHEEMNAGAR | 6281 | 3 | 7800
205 | PITHAPURAM | CHITRADA | 2672 | 0 | 0
206 | PITHAPURAM | DATTATREYA | 6818 | 6 | 30420
207 | PITHAPURAM | GOLLAPROLU | 3549 | 0 | 0
208 | PITHAPURAM | KS TEMPLE | 3518 | 2 | 7140
209 | RAJAHMUNDRY | 11KV AADARSH NAGAR | 1276 | 0 | 0
210 | RAJAHMUNDRY | 11KV BHASKARANAGAR | 4140 | 3 | 4080
211 | RAJAHMUNDRY | 11KV COTTON BOMMURU | 1978 | 0 | 0
212 | RAJAHMUNDRY | 11KV DEVI CHOWK | 633 | 0 | 0
213 | RAJAHMUNDRY | 11KV DOWLESWARAM BSR NAGAR | 3933 | 0 | 0
214 | RAJAHMUNDRY | 11KV HARIPURAM | 2241 | 0 | 0
215 | RAJAHMUNDRY | 11KV HUKUMPETA | 1274 | 4 | 7620
216 | RAJAHMUNDRY | 11KV JK PURAM | 3058 | 0 | 0
217 | RAJAHMUNDRY | 11KV MANTENA GARDENS | 1674 | 2 | 3900
218 | RAJAHMUNDRY | 11KV MOOLAGOYYA | 2507 | 2 | 23700
219 | RAJAHMUNDRY | 11KV NGR | 2938 | 0 | 0
220 | RAJAHMUNDRY | 11KV P.M.COULTRY | 1402 | 2 | 24120
221 | RAJAHMUNDRY | 11KV PAPER MILL JUNCTION | 679 | 2 | 24180
222 | RAJAHMUNDRY | 11KV PHULE | 1185 | 1 | 11340
223 | RAJAHMUNDRY | 11KV R AND B | 4291 | 1 | 1260
224 | RAJAHMUNDRY | 11KV R.R.PETA | 3381 | 0 | 0
225 | RAJAHMUNDRY | 11KV RAMAKRISHNA NAGAR | 3453 | 4 | 7620
226 | RAJAHMUNDRY | 11KV REHMATHNAGAR | 1010 | 0 | 0
227 | RAJAHMUNDRY | 11KV RV NAGAR | 1460 | 0 | 0
228 | RAJAHMUNDRY | 11KV SARASWATHI | 3226 | 1 | 1020
229 | RAJAHMUNDRY | 11KV SOMALAMMA | 1335 | 0 | 0
230 | RAJAHMUNDRY | 11KV ST.PETERS | 1701 | 0 | 0
231 | RAJAHMUNDRY | 11KV SUBBAYAMMA GHAT | 1224 | 1 | 1020
232 | RAJAHMUNDRY | 11KV T.NAGAR | 1575 | 1 | 1020
233 | RAJAHMUNDRY | 11KV TILAK ROAD | 1658 | 0 | 0
234 | RAJAHMUNDRY | AC GARDENS | 3134 | 0 | 0
235 | RAJAHMUNDRY | AMBEDKAR | 3198 | 0 | 0
236 | RAJAHMUNDRY | APSARA | 1746 | 0 | 0
237 | RAJAHMUNDRY | ARYAPURAM | 1411 | 0 | 0
238 | RAJAHMUNDRY | AVA ROAD | 882 | 6 | 9840
239 | RAJAHMUNDRY | BALAJI PETA | 2745 | 0 | 0
240 | RAJAHMUNDRY | BANK COLONY | 1503 | 1 | 3480
241 | RAJAHMUNDRY | CHURCH GATE | 852 | 0 | 0
242 | RAJAHMUNDRY | DANAVAIPETA | 1364 | 1 | 2820
243 | RAJAHMUNDRY | FORT GATE | 2149 | 0 | 0
244 | RAJAHMUNDRY | GANDHI PURAM | 2279 | 2 | 8280
245 | RAJAHMUNDRY | HOUSING BOARD | 5235 | 0 | 0
246 | RAJAHMUNDRY | ILTD | 4150 | 0 | 0
247 | RAJAHMUNDRY | INNISPETA | 3964 | 5 | 15000
248 | RAJAHMUNDRY | J.N.ROAD | 1522 | 0 | 0
249 | RAJAHMUNDRY | JAMPETA | 848 | 0 | 0
250 | RAJAHMUNDRY | KALANIKETHAN | 27 | 0 | 0
251 | RAJAHMUNDRY | KATHERU | 3438 | 1 | 5395
252 | RAJAHMUNDRY | KOLAMURU | 6029 | 6 | 13726
253 | RAJAHMUNDRY | KOTILINGALAPETA | 1054 | 5 | 21480
254 | RAJAHMUNDRY | KRISHNA NAGAR | 2591 | 7 | 24900
255 | RAJAHMUNDRY | LALITHA NAGAR | 1911 | 0 | 0
256 | RAJAHMUNDRY | MARKANDEYA | 2783 | 0 | 0
257 | RAJAHMUNDRY | MORAMPUDI | 4717 | 0 | 0
258 | RAJAHMUNDRY | ONGC | 1 | 8 | 13260
259 | RAJAHMUNDRY | P AND T COLONY | 2885 | 5 | 7260
260 | RAJAHMUNDRY | PARK | 1611 | 0 | 0
261 | RAJAHMUNDRY | PRAKASH NAGAR | 4000 | 0 | 0
262 | RAJAHMUNDRY | QUARRY | 2483 | 0 | 0
263 | RAJAHMUNDRY | R AND B | 1959 | 6 | 30000
264 | RAJAHMUNDRY | RAILWAY STATION | 1 | 0 | 0
265 | RAJAHMUNDRY | RAILWAY(MEMU) | 3506 | 1 | 6900
266 | RAJAHMUNDRY | RAMALAYAM | 680 | 0 | 0
267 | RAJAHMUNDRY | RAMDASPETA | 4533 | 4 | 11460
268 | RAJAHMUNDRY | RANDSUN | 3540 | 0 | 0
269 | RAJAHMUNDRY | RIVER BUND | 20 | 0 | 0
270 | RAJAHMUNDRY | RTC DEPO | 2863 | 0 | 0
271 | RAJAHMUNDRY | SAMBHU NAGAR | 1729 | 0 | 0
272 | RAJAHMUNDRY | SANJEEVAYYA NAGAR | 4229 | 0 | 0
273 | RAJAHMUNDRY | SYAMALA | 2289 | 11 | 25292
274 | RAJAHMUNDRY | TRAINING COLLEGE | 4198 | 6 | 16800
275 | RAJAHMUNDRY | TUMMALOVA | 1341 | 2 | 16260
276 | RAJAHMUNDRY | V B PURAM (SRIRAM NAGAR) | 4774 | 0 | 0
277 | RAJAHMUNDRY | VENKATESWARA NAGAR | 2170 | 0 | 0
278 | RAJAHMUNDRY | VIDYA NAGAR | 3831 | 0 | 0
279 | RAJAHMUNDRY | VISWESWARA | 83 | 0 | 0
280 | RAJAHMUNDRY | VL PURAM | 2071 | 1 | 3540
281 | RAJAHMUNDRY | WATER WORKS | 9 | 0 | 0
282 | RAMACHANDRAPURAM | SEELAMVARISAVARAM | 5202 | 0 | 0
283 | RAMACHANDRAPURAM | TOWN-I (RC PURAM) | 4340 | 19 | 55020
284 | RAMACHANDRAPURAM | TOWN-II | 5910 | 13 | 47940
285 | RAMACHANDRAPURAM | TOWN-III | 2284 | 1 | 21360
286 | SALUR | POLYTECHNIC FEEDER | 5390 | 0 | 0
287 | SALUR | SALURUTOWN-I | 3827 | 10 | 30480
288 | SALUR | SALURUTOWN-II | 4496 | 0 | 0
289 | SALUR | SIVALAYAM FEEDER | 3141 | 0 | 0
290 | SALUR | WATERWORKS | 2 | 5 | 18360
291 | SAMARLAKOTA | DSA | 14 | 5 | 18000
292 | SAMARLAKOTA | INDUSTRIAL (SAMARLAKOTA) | 130 | 8 | 28409
293 | SAMARLAKOTA | MRO | 7303 | 4 | 16140
294 | SAMARLAKOTA | RAILWAY STATION | 6159 | 15 | 37620
295 | SRIKAKULAM | 11KV HUDCO COLONY | 3489 | 0 | 0
296 | SRIKAKULAM | 11KV PN COLONY | 4651 | 0 | 0
297 | SRIKAKULAM | ARASAVALLI | 4409 | 0 | 0
298 | SRIKAKULAM | BONDILIPURAM | 1114 | 14 | 87153
299 | SRIKAKULAM | DCCB COLONY | 2032 | 0 | 0
300 | SRIKAKULAM | GOVT HOSPITAL | 590 | 0 | 0
301 | SRIKAKULAM | GT ROAD | 5474 | 4 | 6906
302 | SRIKAKULAM | GUJARATHIPETA | 4520 | 0 | 0
303 | SRIKAKULAM | INDUSTRIAL (SRIKAKULAM) | 459 | 0 | 0
304 | SRIKAKULAM | KATTERA VEEDHI | 3872 | 0 | 0
305 | SRIKAKULAM | NAGAVALLI | 2082 | 0 | 0
306 | SRIKAKULAM | RIMS | 1 | 0 | 0
307 | SRIKAKULAM | SARASWATHI MAHAL | 5449 | 0 | 0
308 | SRIKAKULAM | TGI | 3889 | 0 | 0
309 | SRIKAKULAM | TOWN1 | 1814 | 0 | 0
310 | SRIKAKULAM | TOWN2 (SRIKAKULAM) | 2606 | 0 | 0
311 | SRIKAKULAM | TOWN3 | 2391 | 0 | 0
312 | SRIKAKULAM | TOWN4 | 4849 | 32 | 178560
313 | SRIKAKULAM | VISAKHA A COLONY | 4755 | 0 | 0
314 | SRIKAKULAM | WATER WORKS | 1 | 0 | 0
315 | SRIKAKULAM | ZILLA PARISHAD | 1063 | 0 | 0
316 | TADEPALLIGUDEM | 11KV MAHALAKSHMINAGAR | 2833 | 1 | 5580
317 | TADEPALLIGUDEM | 11KV PTCOLONY | 2164 | 1 | 5580
318 | TADEPALLIGUDEM | 11KV TOWN | 7997 | 0 | 0
319 | TADEPALLIGUDEM | 11KV ZPSCHOOL | 1100 | 1 | 5580
320 | TADEPALLIGUDEM | EENADU | 3828 | 27 | 48000
321 | TADEPALLIGUDEM | MAIN ROAD | 3586 | 15 | 43260
322 | TADEPALLIGUDEM | MARKET | 4470 | 26 | 45900
323 | TADEPALLIGUDEM | RAILWAY | 1874 | 25 | 80220
324 | TADEPALLIGUDEM | RELIANCE | 4056 | 16 | 64740
325 | TADEPALLIGUDEM | SATYAVATHI NAGAR | 4838 | 13 | 53580
326 | TANUKU | HIGHWAY | 3230 | 4 | 18240
327 | TANUKU | INDUSTRIAL_1 | 41 | 3 | 14280
328 | TANUKU | INDUSTRIAL_2 | 3551 | 2 | 12060
329 | TANUKU | KOMMAI CHERUVU | 6356 | 9 | 24840
330 | TANUKU | LOCAL-1 | 1203 | 4 | 15840
331 | TANUKU | LOCAL-2 | 1756 | 3 | 3900
332 | TANUKU | RAILWAY | 2758 | 1 | 4800
333 | TANUKU | RAMAKRISHNA MATHAM | 3661 | 0 | 0
334 | TANUKU | RASHTRAPATHI ROAD | 972 | 0 | 0
335 | TANUKU | SSN | 3093 | 5 | 15480
336 | TANUKU | VELPURINDL | 184 | 0 | 0
337 | TUNI | BALAJITEMPLE | 6997 | 12 | 26520
338 | TUNI | GOVT.HOSPITAL | 6779 | 0 | 0
339 | TUNI | PAMPADRI | 3217 | 16 | 44760
340 | TUNI | TUNITOWN-II | 308 | 0 | 0
341 | VISAKHAPATNAM | 104AREA | 4212 | 1 | 1140
342 | VISAKHAPATNAM | 11 KV APSEB COLONY | 4016 | 0 | 0
343 | VISAKHAPATNAM | 11 KV GOPALAPATNAM PETROL BUNK | 2909 | 0 | 0
344 | VISAKHAPATNAM | 11 KV NAD | 3720 | 0 | 0
345 | VISAKHAPATNAM | 11 KV POLICE STATION | 3033 | 0 | 0
346 | VISAKHAPATNAM | 11KV 60FEET ROAD | 1113 | 2 | 8700
347 | VISAKHAPATNAM | 11KV AGANAMPUDI FEEDER | 1 | 4 | 12660
348 | VISAKHAPATNAM | 11KV AIRPORT | 2446 | 0 | 0
349 | VISAKHAPATNAM | 11KV ALUFLOURIDE | 1 | 1 | 4976
350 | VISAKHAPATNAM | 11KV APPANNAPALEM | 1547 | 1 | 2280
351 | VISAKHAPATNAM | 11KV AU WOMENS ENGG COLLEGE | 2034 | 0 | 0
352 | VISAKHAPATNAM | 11KV BUTCHIRAJUPALEM-1 | 1044 | 0 | 0
353 | VISAKHAPATNAM | 11KV CHAITANYANAGAR | 2731 | 3 | 14100
354 | VISAKHAPATNAM | 11KV D-BLOCK FEEDER | 68 | 0 | 0
355 | VISAKHAPATNAM | 11KV DOCTORS COLONY | 1619 | 0 | 0
356 | VISAKHAPATNAM | 11KV DURGA NAGAR | 4866 | 2 | 3720
357 | VISAKHAPATNAM | 11KV DUVVADA FEEDER | 1 | 4 | 12540
358 | VISAKHAPATNAM | 11KV GANDHI NAGAR | 3250 | 1 | 25020
359 | VISAKHAPATNAM | 11KV GOLLAVILLIVANIPALEM | 2601 | 1 | 2100
360 | VISAKHAPATNAM | 11KV GVMC WW | 1 | 0 | 0
361 | VISAKHAPATNAM | 11KV HAPPY HOMES | 384 | 1 | 1140
362 | VISAKHAPATNAM | 11KV INCOME TAX | 569 | 0 | 0
363 | VISAKHAPATNAM | 11KV INDIRA NAGAR | 5539 | 0 | 0
364 | VISAKHAPATNAM | 11KV KAILASAGIRI | 3340 | 0 | 0
365 | VISAKHAPATNAM | 11KV KALINGANAGAR | 614 | 0 | 0
366 | VISAKHAPATNAM | 11KV KARASA | 1831 | 1 | 19320
367 | VISAKHAPATNAM | 11KV KEYS VIZAG | 1 | 0 | 0
368 | VISAKHAPATNAM | 11KV KOTHAPALEM | 3891 | 0 | 0
369 | VISAKHAPATNAM | 11KV KRM COLONY | 1858 | 0 | 0
370 | VISAKHAPATNAM | 11KV LAXMI NAGAR | 1156 | 1 | 2160
371 | VISAKHAPATNAM | 11KV LIFE STYLES | 3 | 0 | 0
372 | VISAKHAPATNAM | 11KV MARRIPALEM VUDA LAYOUT | 1576 | 1 | 19320
373 | VISAKHAPATNAM | 11KV MATSYA DARSHINI | 658 | 0 | 0
374 | VISAKHAPATNAM | 11KV MMTC COLONY | 513 | 4 | 15600
375 | VISAKHAPATNAM | 11KV MURALINAGAR | 2964 | 1 | 1320
376 | VISAKHAPATNAM | 11KV NAKKAVANI PALEM | 2680 | 3 | 14144
377 | VISAKHAPATNAM | 11KV NAVY HOUSE | 3 | 0 | 0
378 | VISAKHAPATNAM | 11KV NTR COLONY | 3358 | 0 | 0
379 | VISAKHAPATNAM | 11KV OCEAN VIEW LAYOUT | 1297 | 0 | 0
380 | VISAKHAPATNAM | 11KV OLD GOPALAPATNAM | 2763 | 0 | 0
381 | VISAKHAPATNAM | 11KV P.R.GARDEN | 2239 | 1 | 1320
382 | VISAKHAPATNAM | 11KV PADMANABHAPURAM | 1979 | 2 | 3300
383 | VISAKHAPATNAM | 11KV PADMANABHAPURAM WATER WORKS | 1 | 20 | 185400
384 | VISAKHAPATNAM | 11KV POLICE STADIUM | 98 | 1 | 2640
385 | VISAKHAPATNAM | 11KV PORT | 1 | 0 | 0
386 | VISAKHAPATNAM | 11KV PORT ROAD | 95 | 3 | 4560
387 | VISAKHAPATNAM | 11KV PRAKASARAO PETA | 1104 | 0 | 0
388 | VISAKHAPATNAM | 11KV RAJADHANI FEEDER | 411 | 0 | 0
389 | VISAKHAPATNAM | 11KV RECS | 1 | 1 | 2460
390 | VISAKHAPATNAM | 11KV REVENUE COLONY | 1907 | 0 | 0
391 | VISAKHAPATNAM | 11KV SANTHI NAGAR | 1349 | 1 | 19380
392 | VISAKHAPATNAM | 11KV SEETHANNA GARDENS | 1478 | 0 | 0
393 | VISAKHAPATNAM | 11KV SEVA NAGAR | 2968 | 1 | 1380
394 | VISAKHAPATNAM | 11KV SIVALAYAM STREET | 1845 | 4 | 15600
395 | VISAKHAPATNAM | 11KV SRI RAM PROPERTIES I | 154 | 0 | 0
396 | VISAKHAPATNAM | 11KV SRI RAM PROPERTIES II | 459 | 4 | 11820
397 | VISAKHAPATNAM | 11KV SRINIVASA NAGAR | 3036 | 2 | 3480
398 | VISAKHAPATNAM | 11KV SUB MARINE | 1169 | 0 | 0
399 | VISAKHAPATNAM | 11KV SUNDARAYYA COLONY FEEDER | 3522 | 1 | 1483
400 | VISAKHAPATNAM | 11KV SWATANTRA NAGAR FEEDER | 1597 | 0 | 0
401 | VISAKHAPATNAM | 11KV TUNGLAM FEEDER | 2646 | 0 | 0
402 | VISAKHAPATNAM | 11KV UGD | 632 | 2 | 2940
403 | VISAKHAPATNAM | 11KV USHODAYA FEEDER | 2967 | 0 | 0
404 | VISAKHAPATNAM | 11KV VENKATA PURAM | 3030 | 0 | 0
405 | VISAKHAPATNAM | 11KV VIMS DEDICATED | 1 | 0 | 0
406 | VISAKHAPATNAM | 11KV VINAYAKA NAGAR | 2357 | 0 | 0
407 | VISAKHAPATNAM | 11KV VUDA | 2855 | 0 | 0
408 | VISAKHAPATNAM | 11KV WATER WORKS | 1 | 3 | 14100
409 | VISAKHAPATNAM | 11KV YADAVAJAGGARAJU PETA | 1014 | 1 | 1247
410 | VISAKHAPATNAM | 80FEETROAD(RLYQRTS) | 4182 | 0 | 0
411 | VISAKHAPATNAM | ABID NAGAR | 4653 | 0 | 0
412 | VISAKHAPATNAM | ADAVIVARAM | 3011 | 1 | 2400
413 | VISAKHAPATNAM | ADM.BUILDING | 32 | 4 | 13620
414 | VISAKHAPATNAM | AKKAYYA PALEM | 4971 | 0 | 0
415 | VISAKHAPATNAM | AKKIREDDY PALEM | 2718 | 5 | 7740
416 | VISAKHAPATNAM | ALLIPURAM | 3765 | 1 | 2648
417 | VISAKHAPATNAM | AMARNAGAR | 2030 | 0 | 0
418 | VISAKHAPATNAM | AMBEDKAR NAGAR | 4026 | 4 | 19620
419 | VISAKHAPATNAM | ANTONY NAGAR | 1904 | 0 | 0
420 | VISAKHAPATNAM | APHB | 3918 | 0 | 0
421 | VISAKHAPATNAM | APPAREL PARK | 92 | 0 | 0
422 | VISAKHAPATNAM | APPUGHAR | 4276 | 0 | 0
423 | VISAKHAPATNAM | APSEB COLONY | 2103 | 2 | 3780
424 | VISAKHAPATNAM | ARILOVA | 5886 | 4 | 21000
425 | VISAKHAPATNAM | AU ENGG COLLEGE | 88 | 0 | 0
426 | VISAKHAPATNAM | AUTONAGAR | 177 | 2 | 3240
427 | VISAKHAPATNAM | AUTONAGAR INDUSTRIAL EXPRESS | 681 | 2 | 4740
428 | VISAKHAPATNAM | AUTONAGAR-AIR | 1650 | 2 | 3960
429 | VISAKHAPATNAM | AYYAPPANAGAR | 2300 | 3 | 6420
430 | VISAKHAPATNAM | B C ROAD | 5387 | 2 | 3960
431 | VISAKHAPATNAM | B.C.L | 7099 | 0 | 0
432 | VISAKHAPATNAM | B.S LAYOUT | 1345 | 2 | 4620
433 | VISAKHAPATNAM | BAKKANNAPALEM | 4723 | 3 | 3780
434 | VISAKHAPATNAM | BALAJINAGAR | 703 | 0 | 0
435 | VISAKHAPATNAM | BANTA COLONY | 2422 | 1 | 2280
436 | VISAKHAPATNAM | BAY PARK | 1 | 0 | 0
437 | VISAKHAPATNAM | BHEM NAGAR | 267 | 1 | 6360
438 | VISAKHAPATNAM | BHPV AIR | 1 | 0 | 0
439 | VISAKHAPATNAM | BHPV-KANITHIROAD | 2915 | 0 | 0
440 | VISAKHAPATNAM | BLACKGOLD | 59 | 0 | 0
441 | VISAKHAPATNAM | BPCL | 48 | 1 | 2030
442 | VISAKHAPATNAM | BRPALEM1 | 1547 | 2 | 4260
443 | VISAKHAPATNAM | BRPALEM2 | 488 | 0 | 0
444 | VISAKHAPATNAM | BUDDAVARAPU GARDEN | 1577 | 0 | 0
445 | VISAKHAPATNAM | BURMACAMP | 8549 | 1 | 1260
446 | VISAKHAPATNAM | CBM COMPOUND | 453 | 0 | 0
447 | VISAKHAPATNAM | CHAITANYA NAGAR | 2223 | 5 | 48240
448 | VISAKHAPATNAM | CHEEMALAPALLI | 1922 | 0 | 0
449 | VISAKHAPATNAM | CHINAGANTYADA | 3799 | 3 | 15600
450 | VISAKHAPATNAM | CHINAMUSHIDIVADA | 4940 | 1 | 1440
451 | VISAKHAPATNAM | CHINAWALTAIR | 2491 | 0 | 0
452 | VISAKHAPATNAM | CHITHANYA NAGAR | 2000 | 2 | 2100
453 | VISAKHAPATNAM | CHITRALAYA | 1 | 0 | 0
454 | VISAKHAPATNAM | CIRCUIT HOUSE | 3 | 0 | 0
455 | VISAKHAPATNAM | CIVIL DEFENCE | 417 | 1 | 2640
456 | VISAKHAPATNAM | COLLECTOR OFFICE | 6 | 0 | 0
457 | VISAKHAPATNAM | COMFORT HOMES | 434 | 0 | 0
458 | VISAKHAPATNAM | COMMERCIAL | 319 | 1 | 6300
459 | VISAKHAPATNAM | CORPORATE OFFICE | 1 | 2 | 3780
460 | VISAKHAPATNAM | DABA GARDENS | 2168 | 4 | 8400
461 | VISAKHAPATNAM | DASPALLA HILLS | 952 | 0 | 0
462 | VISAKHAPATNAM | DEFENCE QTRS | 1811 | 0 | 0
463 | VISAKHAPATNAM | DHARMANAGAR | 7802 | 0 | 0
464 | VISAKHAPATNAM | DIAMOND PARK | 760 | 0 | 0
465 | VISAKHAPATNAM | DIBBAPALEM | 6752 | 4 | 4500
466 | VISAKHAPATNAM | DOCTORS COLONY | 2118 | 0 | 0
467 | VISAKHAPATNAM | DONDAPARTHY | 714 | 0 | 0
468 | VISAKHAPATNAM | DRDA | 3817 | 0 | 0
469 | VISAKHAPATNAM | DRM OFFICE | 1 | 0 | 0
470 | VISAKHAPATNAM | DURGA NAGAR | 4841 | 1 | 4800
471 | VISAKHAPATNAM | DURGAPURAM | 288 | 0 | 0
472 | VISAKHAPATNAM | DWARAKANAGAR | 414 | 1 | 1140
473 | VISAKHAPATNAM | EAST POINT COLONY | 1232 | 0 | 0
474 | VISAKHAPATNAM | ELECTRIC LOCO SHED | 1476 | 0 | 0
475 | VISAKHAPATNAM | F BLOCK | 52 | 0 | 0
476 | VISAKHAPATNAM | FACOR LAYOUT | 928 | 0 | 0
477 | VISAKHAPATNAM | FISHING HARBOUR | 81 | 0 | 0
478 | VISAKHAPATNAM | FOUR POINTS | 1 | 0 | 0
479 | VISAKHAPATNAM | GAJUWAKA | 1943 | 0 | 0
480 | VISAKHAPATNAM | GAJUWAKA(SHRP) | 1817 | 4 | 13980
481 | VISAKHAPATNAM | GAJUWAKA-PGD | 5499 | 0 | 0
482 | VISAKHAPATNAM | GFCL | 3 | 0 | 0
483 | VISAKHAPATNAM | GNANAPURAM | 4681 | 0 | 0
484 | VISAKHAPATNAM | GOPALAPATNAM | 3190 | 1 | 960
485 | VISAKHAPATNAM | GRANBAY | 98 | 0 | 0
486 | VISAKHAPATNAM | GREENPARK | 3189 | 1 | 5520
487 | VISAKHAPATNAM | GVMC | 2406 | 0 | 0
488 | VISAKHAPATNAM | HANUMANTUWAKA | 3997 | 3 | 18900
489 | VISAKHAPATNAM | HBCOLONY | 2515 | 7 | 51780
490 | VISAKHAPATNAM | HBL | 28 | 2 | 3540
491 | VISAKHAPATNAM | HIGH SCHOOL ROAD | 5880 | 2 | 3060
492 | VISAKHAPATNAM | INDL | 5 | 1 | 2040
493 | VISAKHAPATNAM | INDUSTRIAL (PGD) | 220 | 2 | 6900
494 | VISAKHAPATNAM | INDUSTRIAL (VISAKHAPATNAM) | 99 | 2 | 3000
495 | VISAKHAPATNAM | INDUSTRIAL (VIZAG) | 52 | 1 | 2520
496 | VISAKHAPATNAM | INDUSTRIAL EXPRESS | 132 | 0 | 0
497 | VISAKHAPATNAM | INDUSTRIAL OXYGEN | 1070 | 0 | 0
498 | VISAKHAPATNAM | INDUSTRIAL PEPSI | 4635 | 0 | 0
499 | VISAKHAPATNAM | INDUSTRIAL(MARRIPALEM) | 5943 | 1 | 1140
500 | VISAKHAPATNAM | INDUSTRIALEXPRESS | 222 | 1 | 1140
501 | VISAKHAPATNAM | ITPARK | 33 | 2 | 8880
502 | VISAKHAPATNAM | JAGADAMBACENTER | 1844 | 0 | 0
503 | VISAKHAPATNAM | JAGGAYAPALEM | 1073 | 3 | 5940
504 | VISAKHAPATNAM | JANATHA COLONY | 3042 | 2 | 3720
505 | VISAKHAPATNAM | JAWAHAR NAGAR | 3041 | 1 | 4920
506 | VISAKHAPATNAM | JK LAYOUT | 983 | 0 | 0
507 | VISAKHAPATNAM | JNNURM | 5126 | 0 | 0
508 | VISAKHAPATNAM | KAILASAMETTA | 630 | 0 | 0
509 | VISAKHAPATNAM | KAILASAPURAM | 4829 | 2 | 6480
510 | VISAKHAPATNAM | KAKANI NAGAR | 2678 | 1 | 3060
511 | VISAKHAPATNAM | KANCHARAPALEM | 8602 | 0 | 0
512 | VISAKHAPATNAM | KANITHIROAD | 5830 | 0 | 0
513 | VISAKHAPATNAM | KAPUJAGGARAJUPETA | 910 | 2 | 4860
514 | VISAKHAPATNAM | KARASA | 4089 | 4 | 15540
515 | VISAKHAPATNAM | KARNAVANIPALEM | 1581 | 0 | 0
516 | VISAKHAPATNAM | KBR ALL INDIA RADIO | 1355 | 2 | 6060
517 | VISAKHAPATNAM | KBR INDUSTRIAL | 5 | 1 | 3420
518 | VISAKHAPATNAM | KBR KURMANAPALEM | 4644 | 1 | 2460
519 | VISAKHAPATNAM | KBR WATER WORKS | 1 | 1 | 2460
520 | VISAKHAPATNAM | KGH | 1 | 0 | 0
521 | VISAKHAPATNAM | KGH (KGH SS) | 1390 | 0 | 0
522 | VISAKHAPATNAM | KGH (VIDYUT SAKHA SS) | 2745 | 1 | 2648
523 | VISAKHAPATNAM | KIRLAMPUDI | 1561 | 0 | 0
524 | VISAKHAPATNAM | KOBBARITHOTA | 8016 | 0 | 0
525 | VISAKHAPATNAM | KOMMADI | 1720 | 2 | 5340
526 | VISAKHAPATNAM | KOTHA AGRAHARAM | 5007 | 0 | 0
527 | VISAKHAPATNAM | KRISHNA GARDENS | 3747 | 0 | 0
528 | VISAKHAPATNAM | KRISHNA NAGAR | 498 | 0 | 0
529 | VISAKHAPATNAM | KRISHNARAYAPURAM | 2089 | 2 | 2760
530 | VISAKHAPATNAM | KRISNAPURAM | 31 | 2 | 16680
531 | VISAKHAPATNAM | KRM COLONY | 817 | 8 | 30600
532 | VISAKHAPATNAM | KURUPAM MARKET | 2102 | 0 | 0
533 | VISAKHAPATNAM | L B COLONY | 2137 | 1 | 1740
534 | VISAKHAPATNAM | LADIES HOSTEL | 819 | 0 | 0
535 | VISAKHAPATNAM | LALITHA NAGAR | 2335 | 0 | 0
536 | VISAKHAPATNAM | LAW COLLEGE | 167 | 3 | 5280
537 | VISAKHAPATNAM | LIONS CLUB | 1352 | 0 | 0
538 | VISAKHAPATNAM | LUCKY | 437 | 0 | 0
539 | VISAKHAPATNAM | MADDILAPALEM | 1068 | 5 | 42300
540 | VISAKHAPATNAM | MADHAVADHARA | 1885 | 0 | 0
541 | VISAKHAPATNAM | MADHAVADHARA-1 | 2288 | 0 | 0
542 | VISAKHAPATNAM | MADHURANAGAR | 3333 | 4 | 10860
543 | VISAKHAPATNAM | MADHURAWADA | 2636 | 2 | 5340
544 | VISAKHAPATNAM | MAHARANIPETA | 889 | 0 | 0
545 | VISAKHAPATNAM | MALKAPURAM | 5078 | 1 | 1980
546 | VISAKHAPATNAM | MARIKAVALASA | 6676 | 2 | 5340
547 | VISAKHAPATNAM | MARIKAVALASA INDL | 830 | 0 | 0
548 | VISAKHAPATNAM | MARKET ROAD | 2789 | 3 | 5940
549 | VISAKHAPATNAM | MGR | 24 | 2 | 3720
550 | VISAKHAPATNAM | MIDILAPURI | 3732 | 5 | 17280
551 | VISAKHAPATNAM | MINDHI | 4565 | 0 | 0
552 | VISAKHAPATNAM | MULAGADA | 6847 | 5 | 18840
553 | VISAKHAPATNAM | MVP | 3033 | 0 | 0
554 | VISAKHAPATNAM | NAD | 3094 | 0 | 0
555 | VISAKHAPATNAM | NAGAMALLI NAGAR | 1819 | 1 | 1200
556 | VISAKHAPATNAM | NAGARAMPALEM | 7382 | 2 | 5340
557 | VISAKHAPATNAM | NAIDUTHOTA | 1869 | 1 | 1140
558 | VISAKHAPATNAM | NARASIMHA NAGAR | 2695 | 0 | 0
559 | VISAKHAPATNAM | NARAVA | 3355 | 0 | 0
560 | VISAKHAPATNAM | NAVODAYA | 4038 | 3 | 20940
561 | VISAKHAPATNAM | NEELAMMA VEPA CHETTU | 1618 | 2 | 24413
562 | VISAKHAPATNAM | NELAYOUT | 518 | 6 | 15360
563 | VISAKHAPATNAM | NEW PORT | 1 | 0 | 0
564 | VISAKHAPATNAM | NOVETEL | 3 | 0 | 0
565 | VISAKHAPATNAM | NOWROJI ROAD | 1424 | 0 | 0
566 | VISAKHAPATNAM | NTP WATER WORKS | 1 | 0 | 0
567 | VISAKHAPATNAM | OFFICIAL COLONY | 410 | 0 | 0
568 | VISAKHAPATNAM | OIL FEEDER | 3 | 1 | 1980
569 | VISAKHAPATNAM | OLD CBI FEEDER | 1921 | 0 | 0
570 | VISAKHAPATNAM | OLDPOSTOFFICE | 4869 | 0 | 0
571 | VISAKHAPATNAM | P AND T (VISAKHAPATNAM) | 1 | 0 | 0
572 | VISAKHAPATNAM | P AND T COLONY | 1739 | 2 | 4620
573 | VISAKHAPATNAM | PANDURANGAPURAM | 924 | 0 | 0
574 | VISAKHAPATNAM | PANJA JUNCTION | 3382 | 0 | 0
575 | VISAKHAPATNAM | PAPAYYARAJUPALEM | 2281 | 1 | 1200
576 | VISAKHAPATNAM | PEDA JALARIPETA | 4006 | 1 | 1740
577 | VISAKHAPATNAM | PEDAGANTYADA | 7245 | 0 | 0
578 | VISAKHAPATNAM | PEDAWALTAIR | 3306 | 0 | 0
579 | VISAKHAPATNAM | PENDURTHY 1 | 9246 | 1 | 1440
580 | VISAKHAPATNAM | PENDURTHY 2 | 5707 | 1 | 1620
581 | VISAKHAPATNAM | PEPSI | 2320 | 2 | 5820
582 | VISAKHAPATNAM | PILAKAVANIPALEM | 5583 | 7 | 15300
583 | VISAKHAPATNAM | PINEAPPLE COLONY | 2005 | 3 | 10920
584 | VISAKHAPATNAM | PITAPURAMCOLONY | 845 | 7 | 49380
585 | VISAKHAPATNAM | PITHAPURAM | 1248 | 0 | 0
586 | VISAKHAPATNAM | PM PALEM | 5193 | 0 | 0
587 | VISAKHAPATNAM | PMP STADIUM | 1473 | 0 | 0
588 | VISAKHAPATNAM | PORT QUARTERS | 1 | 0 | 0
589 | VISAKHAPATNAM | PORT STADIUM | 1 | 0 | 0
590 | VISAKHAPATNAM | PR GARDENS1 | 2481 | 1 | 1140
591 | VISAKHAPATNAM | PURUSHOTHAMPURAM | 884 | 0 | 0
592 | VISAKHAPATNAM | RAJEEV NAGAR | 2423 | 0 | 0
593 | VISAKHAPATNAM | RAJEEV NAGAR(KJR) | 5364 | 6 | 9120
594 | VISAKHAPATNAM | RAJENDRANAGAR | 3700 | 3 | 8220
595 | VISAKHAPATNAM | RAM PURAM | 738 | 1 | 1440
596 | VISAKHAPATNAM | RAMAKRISHNA NAGAR | 3264 | 0 | 0
597 | VISAKHAPATNAM | RAMATALKIES | 2409 | 1 | 2100
598 | VISAKHAPATNAM | RAMNAGAR | 1009 | 0 | 0
599 | VISAKHAPATNAM | RAMNAGAR (VIDYUT SAKHA SS) | 1439 | 0 | 0
600 | VISAKHAPATNAM | RASAPUVANIPALEM | 979 | 6 | 42960
601 | VISAKHAPATNAM | RATNAGIRI NAGAR | 961 | 1 | 2160
602 | VISAKHAPATNAM | RAVI NAGAR | 1414 | 2 | 5460
603 | VISAKHAPATNAM | RKBEACH | 530 | 0 | 0
604 | VISAKHAPATNAM | RTCCOMPLEX | 498 | 2 | 7680
605 | VISAKHAPATNAM | RUSHIKONDA | 933 | 8 | 39000
606 | VISAKHAPATNAM | SAGARNAGAR | 2960 | 4 | 15240
607 | VISAKHAPATNAM | SAIL | 2 | 0 | 0
608 | VISAKHAPATNAM | SAIL QUARTERS | 2067 | 7 | 52800
609 | VISAKHAPATNAM | SALIPETA | 151 | 2 | 7560
610 | VISAKHAPATNAM | SANTHINAGAR (GJ HOSPITAL SS) | 2922 | 0 | 0
611 | VISAKHAPATNAM | SANTHINAGAR NSTL SS) | 1179 | 0 | 0
612 | VISAKHAPATNAM | SANTHIPURAM | 2402 | 2 | 3780
613 | VISAKHAPATNAM | SARASWATHI PARK | 1078 | 0 | 0
614 | VISAKHAPATNAM | SARIPALLI | 1125 | 1 | 1680
615 | VISAKHAPATNAM | SATTIVANIPALEM | 1356 | 4 | 4800
616 | VISAKHAPATNAM | SATYAM COMPUTERS | 217 | 2 | 17280
617 | VISAKHAPATNAM | SEETHAMPETA | 4360 | 0 | 0
618 | VISAKHAPATNAM | SHEELANAGAR | 1944 | 4 | 6660
619 | VISAKHAPATNAM | SHEELANAGAR(BHPV) | 4022 | 9 | 19380
620 | VISAKHAPATNAM | SHIPYARD-1 | 870 | 1 | 1980
621 | VISAKHAPATNAM | SHIPYARD-2 | 3202 | 1 | 1980
622 | VISAKHAPATNAM | SHIVAJIPALEM | 2148 | 0 | 0
623 | VISAKHAPATNAM | SKML | 2437 | 0 | 0
624 | VISAKHAPATNAM | SR PURAM | 2664 | 0 | 0
625 | VISAKHAPATNAM | SRAMIKANAGAR | 5631 | 1 | 13860
626 | VISAKHAPATNAM | SRIHARIPURAM | 3034 | 3 | 8220
627 | VISAKHAPATNAM | SRINAGAR | 3016 | 0 | 0
628 | VISAKHAPATNAM | SRINIVASANAGAR | 6458 | 0 | 0
629 | VISAKHAPATNAM | SRINIVASNAGAR | 5667 | 2 | 2580
630 | VISAKHAPATNAM | SRIVARSHINI TOWERS | 1200 | 1 | 2280
631 | VISAKHAPATNAM | SUBBALAXMINAGAR | 3056 | 1 | 1320
632 | VISAKHAPATNAM | SUJATHANAGAR | 1304 | 1 | 1740
633 | VISAKHAPATNAM | SURYABAGH | 1291 | 0 | 0
634 | VISAKHAPATNAM | TARAKARAMA | 624 | 3 | 10020
635 | VISAKHAPATNAM | TENNETI NAGAR | 2196 | 0 | 0
636 | VISAKHAPATNAM | THATICHETLAPALEM | 6490 | 1 | 2820
637 | VISAKHAPATNAM | THOKADA EXPRESS | 3371 | 0 | 0
638 | VISAKHAPATNAM | TIC | 7291 | 0 | 0
639 | VISAKHAPATNAM | TIMMAPURAM | 1236 | 3 | 10020
640 | VISAKHAPATNAM | TOWN-1 | 3577 | 0 | 0
641 | VISAKHAPATNAM | TOWN-2 | 613 | 0 | 0
642 | VISAKHAPATNAM | TOWN-3 | 4 | 0 | 0
643 | VISAKHAPATNAM | TPTCOLONY | 755 | 2 | 3780
644 | VISAKHAPATNAM | TRINADHAPURAM | 1341 | 1 | 1980
645 | VISAKHAPATNAM | TSN COLONY | 2253 | 4 | 8700
646 | VISAKHAPATNAM | TSR-WATERWORKS | 2 | 0 | 0
647 | VISAKHAPATNAM | TTD | 1271 | 0 | 0
648 | VISAKHAPATNAM | TV TOWER | 3302 | 0 | 0
649 | VISAKHAPATNAM | VADLAPUDI | 5491 | 3 | 4440
650 | VISAKHAPATNAM | VADLAPUDI-INDUSTRIAL | 115 | 3 | 4320
651 | VISAKHAPATNAM | VDP KURMANNAPALEM | 6735 | 3 | 4320
652 | VISAKHAPATNAM | VELAMPETA | 4663 | 0 | 0
653 | VISAKHAPATNAM | VENKATAPURAM | 337 | 2 | 3420
654 | VISAKHAPATNAM | VENKATARAJU NAGAR | 1585 | 0 | 0
655 | VISAKHAPATNAM | VENKATESWARAMETTA | 2195 | 1 | 2640
656 | VISAKHAPATNAM | VENKOJIPALEM | 3093 | 8 | 73440
657 | VISAKHAPATNAM | VEPAGUNTA | 3978 | 0 | 0
658 | VISAKHAPATNAM | VICTORIA HOSPITAL | 2544 | 4 | 13380
659 | VISAKHAPATNAM | VIGINI GIRIPALEM | 3074 | 1 | 2400
660 | VISAKHAPATNAM | VIPL(HSBC) | 1 | 0 | 0
661 | VISAKHAPATNAM | VIVEKANANDA | 3184 | 1 | 1260
662 | VISAKHAPATNAM | VIZAG CENTRAL | 27 | 1 | 2640
663 | VISAKHAPATNAM | VKSTEEL | 94 | 0 | 0
664 | VISAKHAPATNAM | VMC | 1326 | 0 | 0
665 | VISAKHAPATNAM | VMCLIBRARY | 1426 | 1 | 2100
666 | VISAKHAPATNAM | VNPALACE | 607 | 0 | 0
667 | VISAKHAPATNAM | VSL NAGAR | 2295 | 5 | 21720
668 | VISAKHAPATNAM | VUDA | 6085 | 0 | 0
669 | VISAKHAPATNAM | VUDA (SUJATHA NAGAR SS) | 1611 | 1 | 1740
670 | VISAKHAPATNAM | VUDA COLONY | 4512 | 2 | 5340
671 | VISAKHAPATNAM | Venkateswara Colony | 1627 | 0 | 0
672 | VISAKHAPATNAM | WATER WORKS (VISAKHAPATNAM) | 1022 | 1 | 1980
673 | VISAKHAPATNAM | WIPRO | 1 | 3 | 5700
674 | VISAKHAPATNAM | YELLAMMATHOTA | 740 | 0 | 0
675 | VISAKHAPATNAM | YELLAPUVAANIPALEM | 4914 | 0 | 0
676 | VISAKHAPATNAM | YENDADA | 4128 | 7 | 40620
677 | VISAKHAPATNAM | mangapuram colony | 4719 | 0 | 0
678 | VIZIANAGARAM | ARUNA | 1 | 0 | 0
679 | VIZIANAGARAM | ASHOK NAGAR | 2374 | 7 | 32400
680 | VIZIANAGARAM | B KONERU TOWN | 5199 | 2 | 3480
681 | VIZIANAGARAM | BABAMETTA | 5115 | 0 | 0
682 | VIZIANAGARAM | BALAJI NAGAR | 2439 | 10 | 19920
683 | VIZIANAGARAM | BALAJIMARKET | 6340 | 0 | 0
684 | VIZIANAGARAM | BATALLION | 1904 | 8 | 27488
685 | VIZIANAGARAM | CENTRAL BANK | 1398 | 7 | 13260
686 | VIZIANAGARAM | CIRCLE OFFICE | 7 | 0 | 0
687 | VIZIANAGARAM | CMR | 2962 | 0 | 0
688 | VIZIANAGARAM | COLLECTRATE | 198 | 0 | 0
689 | VIZIANAGARAM | CONTONMENT | 3374 | 0 | 0
690 | VIZIANAGARAM | DENKADA | 3309 | 21 | 48000
691 | VIZIANAGARAM | DHARMAPURI | 2018 | 0 | 0
692 | VIZIANAGARAM | DWARAKA NAGAR | 2588 | 7 | 34500
693 | VIZIANAGARAM | EAST COAST | 1 | 0 | 0
694 | VIZIANAGARAM | FORT | 2833 | 0 | 0
695 | VIZIANAGARAM | GAJAPATHINAGARAM | 5941 | 0 | 0
696 | VIZIANAGARAM | GAJULAREGA TOWN | 2614 | 0 | 0
697 | VIZIANAGARAM | INDUSTRIAL (VIZIANAGARAM) | 52 | 0 | 0
698 | VIZIANAGARAM | KANAPAKA | 2652 | 0 | 0
699 | VIZIANAGARAM | MG ROAD | 2670 | 6 | 11633
700 | VIZIANAGARAM | MSN | 2693 | 0 | 0
701 | VIZIANAGARAM | NAIDU COLONY | 2961 | 5 | 8640
702 | VIZIANAGARAM | P AND T | 4638 | 0 | 0
703 | VIZIANAGARAM | P AND T1 (KOTHAPETA) | 5382 | 2 | 3180
704 | VIZIANAGARAM | P AND T2 ( YSR NAGAR ) | 4112 | 2 | 3060
705 | VIZIANAGARAM | P.G COLLEGE | 2854 | 0 | 0
706 | VIZIANAGARAM | POOLBAGH | 5840 | 12 | 59298
707 | VIZIANAGARAM | R&B (SAINIK SCHOOL) | 3600 | 0 | 0
708 | VIZIANAGARAM | SINGAPORE CITY | 1258 | 0 | 0
709 | VIZIANAGARAM | SOUTHERN DUPLILCATE | 2404 | 0 | 0
710 | VIZIANAGARAM | TANK BUND | 2637 | 0 | 0
711 | VIZIANAGARAM | THOTAPALEM | 572 | 0 | 0
712 | VIZIANAGARAM | TOWN(VONTITHADI) | 1501 | 0 | 0
713 | VIZIANAGARAM | VG PURAM | 1364 | 10 | 50070
714 | VIZIANAGARAM | VUDA | 4328 | 0 | 0
715 | VIZIANAGARAM | WATER WORKS (VIZIANAGARAM) | 228 | 0 | 0
716 | VIZIANAGARAM | ZILLA PARISHAD | 1289 | 0 | 0